March 9, 2017

Addendum #1

RE:  RFP # 2137-C-17-005 Erosion Control and Repair Services

Location:	Ezra Prentice Homes – 625 S. Pearl St. Albany NY

Point of Contact: 	 Yvonne Hughes 518-380-5559

Additional location and area Description and pricing

1.1	COBBLE INSTALLATION

Area were water contentiously washes mulch and dirt to be excavated approximately 6”. Landscape filter fabric installed and large (basketball sized) cobble installed. Cobble bed will allow water to flow freely from downspouts to concrete sidewalks, eliminating washouts. Areas of concern, back two corners of building 629, back to corners of building 629 and one of the back corners of building 633.

1.2	STAIRCASE GRADING on Property Hillside

Existing grade on both sides of center staircase pitch toward stairs, creating a channel for water to aggressively flow along stair case,

erosion of soil is a constant issue. Area to be re-graded, to allow water to flow more naturally down the hill. Area to be have seed and erosion control mat installed.

| Section | Description of Work – Ezra Prentice | Cost |
| --- | --- | --- |
| 15.7 | Building 629, back two corners |  |
| 15.8 | Building 633, one of the back corners |  |
| 15.9 | Staircase grading on property hillside as detailed in section 1.2 above |  |

Peter Chiarella

Purchasing Agent

Albany Housing Authority

200 S. Pearl St.

Albany, NY  12202